## I to P Convertor
Calibration Certificate: I to P convertor calibration with standards
Calibration certificate No.: | [12 empty] | Page: 1/1
Service Request / Work Order No.:
Description identification of instrument to be calibrated
Name: I to P convertor calibration with standards | [6 empty] | Tag no
Sl. No.: | [6 empty] | Make:
Model / Type No.: | [6 empty] | Range: |  |  | 4- 20mA
Sensor: Motion balance type I to P convertor | [6 empty] | Resolution: |  |  | 0.01
Applicable specification of instrument to be calibrated: Accuracy / permissible limit:
Date of receipt of item: | [5 empty] | Date of calibration:
Calibration valid upto: | [5 empty] | Frequency of calibration:
Environmental condition during calibration |  |  | Temperature:
Humidity:
Details of standard instruments Used:
Name of the instrument |  | Sr.No |  |  | Make/Model |  | Valid up to |  |  |  | Report no: / Certificate no:
Basis of calibration: |  |  | With standards
Applied Procedure no :
Input in % | As found |  |  | As left |  |  |  | Expected output(psi) |  | Error (psi) |  | Error in %
| Input(mA) | output(psi) |  | Input(mA) |  | output(psi)
0 | 4 |  |  | 4 |  |  |  | 3 |  | 3 |  | 25
25 | 8 |  |  | 8 |  |  |  | 6 |  | 6 |  | 50
50 | 12 |  |  | 12 |  |  |  | 9 |  | 9 |  | 75
75 | 16 |  |  | 16 |  |  |  | 12 |  | 12 |  | 100
100 | 20 |  |  | 20 |  |  |  | 15 |  | 15 |  | 125
75 | 16 |  |  | 16 |  |  |  | 12 |  | 12 |  | 100
50 | 12 |  |  | 12 |  |  |  | 9 |  | 9 |  | 75
25 | 8 |  |  | 8 |  |  |  | 6 |  | 6 |  | 50
0 | 4 |  |  | 4 |  |  |  | 3 |  | 3 |  | 25
Remarks: Calibration done and all the output values are with in the acceptable limit. Maximun as left error was ____ psi
Calibrated by | [5 empty] | Checked & approved by
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date: