## M.Level transmitter
Calibration Certificate: Magnetostrictive level transmitter calibration with standards
Calibration certificate No.: | [12 empty] | Page: 1/1
Service Request / Work Order No.:
Description identification of instrument to be calibrated
Name: Magnetostrictive level transmitter calibration with standards | [6 empty] | Tag no
Sl. No.: | [6 empty] | Make:
Model / Type No.: | [6 empty] | Range:
Sensor: Magnetostrictive level measurement | [6 empty] | Resolution:
Location:
Applicable specification of instrument to be calibrated: Accuracy / permissible limit:
Date of receipt of item: | [5 empty] | Date of calibration:
Calibration valid upto: | [5 empty] | Frequency of calibration:
Environmental condition during calibration |  |  | Temperature:
Humidity:
Details of standard instruments Used:
Name of the instrument |  | Sr.No |  |  | Make/Model |  | Valid up to |  |  |  | Report no: / Certificate no:
Basis of calibration: |  |  | With standards as reference / manufacturer instruction
Applied Procedure no :
Input in % | As found |  |  | As left |  |  |  | Expected output(mA) |  | Error (mA) |  | Error in %
| Float position in Chamber (cm) | output Value(mA) |  | Float position in Chamber (cm) |  | output Value(mA)
0 | [7 empty] | 4 |  |  |  | 0
25 | [7 empty] | 8 |  |  |  | 0
50 | [7 empty] | 12 |  |  |  | 0
75 | [7 empty] | 16 |  |  |  | 0
100 | [7 empty] | 20 |  |  |  | 0
75 | [7 empty] | 16 |  |  |  | 0
50 | [7 empty] | 12 |  |  |  | 0
25 | [7 empty] | 8 |  |  |  | 0
0 | [7 empty] | 4 |  |  |  | 0
Remarks: Calibration done and all the output values are with in the acceptable limit. Maximun as left error was 0.01 mA
Calibrated by | [5 empty] | Checked & approved by
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date: