## pH meter
Calibration Certificate: conductivity transmitter calibration with standard solution
Calibration certificate No.: | [12 empty] | Page: 1/1
Service Request / Work Order No.:
Description identification of instrument to be calibrated
Name: conductivity transmitter calibration with standard solution | [6 empty] | Tag no
Sl. No.: | [6 empty] | Make:
Model / Type No.: | [6 empty] | Range:
Sensor: | [6 empty] | Resolution:
Location:
Applicable specification of instrument to be calibrated: Accuracy / permissible limit:
Date of receipt of item: | [5 empty] | Date of calibration:
Calibration valid up to: | [5 empty] | Frequency of calibration:
Environmental condition during calibration |  |  | Temperature:
Humidity:
Details of standard instruments Used:
Name of the instrument |  | Sr.No |  |  | Make/Model |  | Valid up to/ Exp.date |  |  |  | calibration Certificate no.
Basis of calibration: |  |  | Comparison with standard solutions
Applied Procedure no :
Conductivity transmitter calibration with standard solution
Input in % | As found |  |  | As left |  |  |  | Expected value(mA) |  | Error (mA) |  | Error in %
| Reference solution value(μS/cm) | conductivity transmitter output (mA) |  | Reference solution value(μS/cm) |  | conductivity transmitter output (mA)
Conductivity electrode temperature sensor calibration
Input in % | As found |  |  | As left |  |  |  | Expected value(oC) |  | Error (oC) |  | Error in %
| Process Sample solution temperature (oC) | conductivity transmitter indication (oC) |  | Process Sample solution temperature (oC) |  | conductivity transmitter indication (oC)
Process sample Calibration verification with standard conductivity meter
Input in % | As found |  |  | As left |  |  |  | Expected value(mA) |  | Error (mA) |  | Error in %
| Reference solution value(μS/cm) | conductivity transmitter output (mA) |  | Reference solution value(μS/cm) |  | conductivity transmitter output (mA)
Remarks: Calibration done and all the output values are with in the acceptable limit. Maximum as left error was ____mA. Air calibration also carried out after cleaning and drying of sensor.
Calibrated by | [5 empty] | Checked & approved by
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date: