## conductivity tx - DRB
Calibration Certificate: conductivity transmitter calibration with decade resistance box
Calibration certificate No.: | [12 empty] | Page: 1/1
Service Request / Work Order No.:
Description identification of instrument to be calibrated
Name: | [6 empty] | Tag no
Sl. No.: | [6 empty] | Make:
Model / Type No.: | [6 empty] | Range:
Sensor: | [6 empty] | Resolution:
Location:
Applicable specification of instrument to be calibrated: Accuracy / permissible limit:
Date of receipt of item: | [5 empty] | Date of calibration:
Calibration valid upto: | [5 empty] | Frequency of calibration:
Environmental condition during calibration |  |  | Temperature:
Humidity:
Details of standard instruments Used:
Name of the instrument |  | Sr.No |  |  | Make/Model |  | Valid up to |  |  |  | Report no: / Certificate no:
Basis of calibration:
Applied Procedure no :
Input in % | As found |  |  | As left |  |  |  | Expected output(mA) |  | Error (mA) |  | Error in %
| Input resistance from Decade resistance box (ohms) | output Value (mA) |  | Input resistance from Decade resistance box (ohms) |  | output Value (mA)
Remarks: Calibration done and all the output values are with in the acceptable limit. Maximun as left error was 0.02 mA. Temperature is simulated with decade resistance box at 25oC.
Calibrated by | [5 empty] | Checked & approved by
Name: XXXXXXXXX | [5 empty] | Name: xxxxxxxxxxxxxx
Signature: | [5 empty] | Signature:
Date: 10/5/2023 | [5 empty] | Date: 10/5/2023