## Static Pressure Calculator
HVAC Fan Static Pressure Calculator
Parameter | Value | Units | Notes
INPUTS
Airflow | 1200 | CFM | Required system airflow
Duct Friction Loss | 0.08 | in. w.g./100 ft | From duct design charts
Straight Duct Length | 80 | ft | Measured total length of straight duct
Number of Elbows | 2 | count | 90° elbows in the duct system
Equivalent Length per Elbow | 10 | ft | From SMACNA tables
Filter Pressure Drop | 0.35 | in. w.g. | Manufacturer value (clean)
Coil Pressure Drop | 0.25 | in. w.g. | Manufacturer value
RESULTS
Total Equivalent Duct Length (ft) | 100 | ft | #VALUE!
Friction Loss Total (in. w.g.) | 3 | in. w.g.
Total Static Pressure (in. w.g.) | 0.6 | in. w.g.