## PST Checklist
PARTIAL STROKE TEST (PST) CHECKLIST - VALVE
S.No | Section | Parameter | Details | Status / Value | Remarks
1 | VALVE IDENTIFICATION | Valve Tag Number | Unique identifier
|  | Valve Type | ESD / Block / Control / Blowdown
|  | Valve Size (inches) | e.g., 2", 4", 6"
|  | Location/Unit | Plant area / Process unit
|  | Service Description | Fluid/Gas handled
|  | Fail Position | Fail Open / Fail Close
2 | ACTUATOR DETAILS | Actuator Type | Pneumatic / Electric / Hydraulic
|  | Actuator Make/Model | Manufacturer details
|  | Supply Pressure (bar) | Normal operating pressure
|  | Solenoid Valve Type | 3-way / 5-way
3 | PRE-TEST VERIFICATION | Isolation Permit | Valid permit obtained
|  | Process Stable | Normal operating conditions
|  | Bypass Available | Bypass valve functional
|  | DCS/ESD Override | System in test mode
|  | Air Supply Check | Adequate pressure available
|  | Position Indicator | Shows correct position
|  | Safety Systems | Alarms/Interlocks inhibited
4 | TEST PARAMETERS | Test Date | DD/MM/YYYY
|  | Test Time | HH:MM
|  | Technician Name | Person conducting test
|  | Supervisor Name | Authorized supervisor
|  | PST Travel (%) | 10-50% of full stroke
|  | Test Frequency | Monthly / Quarterly / Annually
5 | PST EXECUTION | Initial Position (%) | Valve position before test
|  | Target Position (%) | Expected position after PST
|  | Actual Position (%) | Measured position after PST
|  | Stroke Time (sec) | Time to reach target
|  | Return Time (sec) | Time to return to initial
|  | Valve Response | Smooth / Jerky / Sluggish
|  | Position Accuracy | Within ±2% tolerance
6 | DIAGNOSTIC CHECKS | Actuator Pressure (bar) | During stroke movement
|  | Air Leakage | Visual/audible inspection
|  | Positioner Feedback | Signal consistency check
|  | Mechanical Binding | Smooth operation check
|  | Vibration/Noise | Abnormal sounds
7 | POST-TEST VERIFICATION | Valve Returned to Service | Normal position restored
|  | Process Stable | No upset conditions
|  | Alarms/Interlocks Reset | All inhibits removed
|  | DCS/ESD Normal Mode | Override removed
|  | Documentation Updated | Test records logged
8 | OVERALL TEST RESULT | Test Status | Overall result
|  | Follow-up Required | Maintenance action needed
|  | Next Test Date | Scheduled date
9 | SIGNATURES & APPROVALS | Technician Signature | Test performed by
|  | Supervisor Approval | Verified by
|  | Safety Officer Review | Safety compliance

## VALVE IDENTIFICATION
VALVE IDENTIFICATION
S.No | Parameter | Details | Status/Value | Remarks
1 | Valve Tag Number | Unique identifier
2 | Valve Type | ESD / Block / Control / Blowdown
3 | Valve Size (inches) | e.g., 2", 4", 6"
4 | Location/Unit | Plant area / Process unit
5 | Service Description | Fluid/Gas handled
6 | Fail Position | Fail Open / Fail Close

## ACTUATOR DETAILS
ACTUATOR DETAILS
S.No | Parameter | Details | Status/Value | Remarks
7 | Actuator Type | Pneumatic / Electric / Hydraulic
8 | Actuator Make/Model | Manufacturer details
9 | Supply Pressure (bar) | Normal operating pressure
10 | Solenoid Valve Type | 3-way / 5-way

## PRE-TEST VERIFICATION
PRE-TEST VERIFICATION
S.No | Parameter | Details | Status/Value | Remarks
11 | Isolation Permit | Valid permit obtained
12 | Process Stable | Normal operating conditions
13 | Bypass Available | Bypass valve functional
14 | DCS/ESD Override | System in test mode
15 | Air Supply Check | Adequate pressure available
16 | Position Indicator | Shows correct position
17 | Safety Systems | Alarms/Interlocks inhibited

## TEST PARAMETERS
TEST PARAMETERS
S.No | Parameter | Details | Status/Value | Remarks
18 | Test Date | DD/MM/YYYY
19 | Test Time | HH:MM
20 | Technician Name | Person conducting test
21 | Supervisor Name | Authorized supervisor
22 | PST Travel (%) | 10-50% of full stroke
23 | Test Frequency | Monthly / Quarterly / Annually

## PST EXECUTION
PST EXECUTION
S.No | Parameter | Details | Status/Value | Remarks
24 | Initial Position (%) | Valve position before test
25 | Target Position (%) | Expected position after PST
26 | Actual Position (%) | Measured position after PST
27 | Stroke Time (sec) | Time to reach target
28 | Return Time (sec) | Time to return to initial
29 | Valve Response | Smooth / Jerky / Sluggish
30 | Position Accuracy | Within ±2% tolerance

## DIAGNOSTIC CHECKS
DIAGNOSTIC CHECKS
S.No | Parameter | Details | Status/Value | Remarks
31 | Actuator Pressure (bar) | During stroke movement
32 | Air Leakage | Visual/audible inspection
33 | Positioner Feedback | Signal consistency check
34 | Mechanical Binding | Smooth operation check
35 | Vibration/Noise | Abnormal sounds

## POST-TEST VERIFICATION
POST-TEST VERIFICATION
S.No | Parameter | Details | Status/Value | Remarks
36 | Valve Returned to Service | Normal position restored
37 | Process Stable | No upset conditions
38 | Alarms/Interlocks Reset | All inhibits removed
39 | DCS/ESD Normal Mode | Override removed
40 | Documentation Updated | Test records logged

## OVERALL TEST RESULT
OVERALL TEST RESULT
S.No | Parameter | Details | Status/Value | Remarks
41 | Test Status | Overall result
42 | Follow-up Required | Maintenance action needed
43 | Next Test Date | Scheduled date

## SIGNATURES & APPROVALS
SIGNATURES & APPROVALS
S.No | Parameter | Details | Status/Value | Remarks
44 | Technician Signature | Test performed by
45 | Supervisor Approval | Verified by
46 | Safety Officer Review | Safety compliance