## Alarm & Trip Setpoint Checklist
Alarm & Trip Setpoint List in Instrumentation Engineering: The Most Critical Document for Plant Safety
Phase | Checklist Item | Description / Guidance | Responsible Discipline | Status (Yes/No) | Remarks
Preparation | Collect P&IDs | Verify latest approved P&IDs are available | Process / ICSS
| Review HAZOP | Confirm all alarm and trip actions identified in HAZOP | Process Safety
| Review SRS | Ensure SIS trip requirements are clearly defined | Safety / ICSS
| Cause & Effect Matrix | Verify alarm-to-action relationships | Control Engineering
Development | Tag Identification | Ensure all instrument tags are uniquely defined | ICSS
| Normal Operating Range | Define normal operating value or range | Process Engineering
| Alarm Setpoints | Define high and low alarm limits | Process / ICSS
| Trip Setpoints | Define high-high / low-low trip limits | Safety / ICSS
| Alarm Priority | Assign alarm priority based on consequence and response time | Operations / Safety
| Engineering Rationale | Document reason for each setpoint selection | Process Engineering
Review | Verification Check | Confirm values match source documents | ICSS
| Unit Consistency | Ensure units are consistent across documents and systems | ICSS
| Validation Workshop | Conduct multi-discipline review session | All Disciplines
| Alarm Rationalization | Confirm alarms are actionable and necessary | Operations / Safety
Implementation | DCS Configuration | Configure alarms exactly as per approved list | ICSS
| SIS Configuration | Configure trips exactly as per approved list | Safety / ICSS
| Priority Mapping | Verify alarm priority mapping in DCS | ICSS
| HMI Message Check | Confirm alarm messages are clear and meaningful | Operations / ICSS
Operations & MOC | MOC Procedure | Ensure MOC applied for any setpoint changes | Operations / Safety
| Document Update | Update setpoint list after approved changes | ICSS
| Periodic Review | Conduct periodic alarm performance review | Operations
| Audit Readiness | Ensure list matches live DCS/SIS configuration | ICSS / Safety
Done By: